{"text_format":"1","workbook":"xlsx","n_sheets":1,"sheets":["Sheet1"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":27,"n_cols":16,"rows_kept":27,"cut":false,"hidden":false,"merged":[[26,11,26,15],[0,0,0,15],[5,11,5,12],[6,11,6,12],[7,0,7,2],[7,11,7,12],[8,7,8,10],[8,12,8,15],[8,16,11,16],[9,7,9,10],[9,12,9,15],[24,11,24,15],[25,11,25,15]]}
["Lokālā tāme"]
["Būves nosaukums:",null,"Aptiekas mājas jumta remonts"]
["Objekta nosaukums:",null,"Aptiekas mājas jumta remonts"]
["Objekta adrese:",null,"Strazde aptiekas jumts"]
["Pasūtījuma Nr."]
[" Tāme sastādīta 2020 gada cenās",null,null,null,null,null,null,null,null,null,"Darba ietilpība C/st:"]
[null,null,null,null,null,null,null,null,null,null,"Tāme sastādīta:"]
[null,null,null,null,null,null,null,null,null,null,"Objekta izmaksas:"]
[null,null,null,null,null,null,"Darba ","Vienības izmaksa,",null,null,null,null,"Kopējās izmaksas,"]
["Nr.","Normat.","Darba un izdevumu nosaukums","Vienība","Daudz.","Laika","samaksa","tai skaitā",null,null,null,"Darba","tai skaitā"]
["p.","pozic.","pielietotie materiāli, to daudzums",null,null,"norma","likme","Darba alga","Materiāli","Mehanismi","Kopā","ietilpība","Darba alga","Materiāli","Mehanismi","Kopā"]
["k.","nr.",null,null,null,"c/h"," eiro/h"," eiro"," eiro"," eiro"," eiro","c/st"," eiro"," eiro"," eiro"," eiro"]
[1,2,3,4,5,6,7,"8","9","10","11","12","13","14","15","16"]
[null,"I","Aptiekas mājas jumta remonts"]
[1,"Normat.","Šīfera demontāža","m2",200]
[{"$f":"A15+1","v":2},"Normat.","Lubiņu un latojuma demontāža","m2",200]
[3,"Normat.","Mūrlatas ierīkošana,spāru protēžēšana","gb",14]
[4,"Normat.","Spāru līmeņošana","gb",14]
[5,"Normat.","Latojuma un kondensāta plēves ierīkošana","m2",200]
[6,"Normat.","Šīfera ieklāšana","m2",200]
[7,"Normat.","Skursteņa gala pārmūrēšana","m2",2.4]
[8,"Normat.","Sastatņu montrāža ,demontāža","m2",42]
[9,"Normat.","Būvgružu utilizācija","t",8.6]
[null,null,null,null,null,null,null,null,null,null," Kopā eiro"]
[null,null,null,null,null,null,null,null,null,null," Kopā eiro"]
[null,null,null,null,null,null,null,null,null,null," PVN 21 %  eiro"]
[null,null,null,null,null,null,null,null,null,null," Objekta izmaksas ar PVN eiro"]